## Note
Metrics | Reference geojson | Units | Descriptions
drought_risk | flow_risk_points_render.geojson | days | Number of days with potential drought risk (below low flow Q90 in baseline)
highflow_risk | flow_risk_points_render.geojson | days | Number of days with potential overflow risk (above high flow Q5 in baseline)
mean_flow | river_segment_render.geojson | m3/d | Average daily river flow amount
CSO_events | CSO_nodes_render.geojson | m3/d | Average daily CSOs
ammonia_conc | river_segment_render.geojson | mg/l | Average pollutant concentration along river
nitrate_conc | river_segment_render.geojson | mg/l | Average pollutant concentration along river
phosphate_conc | river_segment_render.geojson | mg/l | Average pollutant concentration along river
ammonia_load | NA | kg/year | Annual average pollutant loads at WWTW discharge
nitrate_load | NA | kg/year | Annual average pollutant loads at WWTW discharge
phosphate_load | NA | kg/year | Annual average pollutant loads at WWTW discharge
residential_demand | subcatchments_autoscale_full.geojson | m3/d | Average daily residential water demand
first digit = | Developments
0 | None
1 | Stage 1 | (status 3)
2 | Stage 2 | (status 3+2)
3 | Stage 3 | (status 3+2+1)
second digit = | offset
0 | None
1 | Stage 1 | (status 3)
2 | Stage 2 | (status 3+2)
3 | Stage 3 | (status 3+2+1)
third digit = | climate
0 | current
1 | rcp26
2 | rcp85

## drought_risk
river ids | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
1 | 1 | 1 | 1 | 1 | 1 | 1 | 202 | 141 | 108 | 235 | 163 | 123 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2 | 1 | 1 | 1 | 1 | 1 | 1 | 207 | 153 | 114 | 230 | 167 | 126 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3 | 108 | 127 | 128 | 109 | 129 | 130 | 110 | 129 | 132 | 112 | 130 | 132 | 108 | 127 | 128 | 109 | 129 | 130 | 110 | 129 | 132 | 111 | 130 | 132 | 108 | 127 | 128 | 109 | 129 | 130 | 110 | 129 | 132 | 111 | 130 | 132 | 108 | 127 | 128 | 109 | 129 | 130 | 110 | 129 | 132 | 111 | 130 | 132
4 | 98 | 3 | 1 | 108 | 34 | 17 | 116 | 49 | 37 | 117 | 51 | 38 | 8 | 1 | 1 | 41 | 1 | 1 | 53 | 1 | 1 | 55 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4.5 | 100 | 51 | 50 | 110 | 57 | 51 | 113 | 62 | 55 | 116 | 62 | 55 | 64 | 46 | 43 | 65 | 46 | 46 | 71 | 46 | 46 | 72 | 47 | 46 | 54 | 36 | 36 | 55 | 37 | 36 | 57 | 38 | 37 | 57 | 38 | 37 | 54 | 36 | 35 | 55 | 37 | 36 | 57 | 38 | 37 | 57 | 38 | 37
5 | 109 | 98 | 96 | 110 | 99 | 97 | 110 | 99 | 97 | 110 | 99 | 97 | 109 | 98 | 96 | 110 | 99 | 97 | 110 | 99 | 97 | 110 | 99 | 97 | 109 | 98 | 96 | 110 | 99 | 97 | 110 | 99 | 97 | 110 | 99 | 97 | 109 | 98 | 96 | 110 | 99 | 97 | 110 | 99 | 97 | 110 | 99 | 97
6 | 109 | 88 | 88 | 109 | 88 | 88 | 110 | 88 | 88 | 111 | 88 | 88 | 109 | 88 | 88 | 109 | 88 | 88 | 110 | 88 | 88 | 111 | 88 | 88 | 109 | 88 | 88 | 109 | 88 | 88 | 110 | 88 | 88 | 111 | 88 | 88 | 109 | 88 | 88 | 109 | 88 | 88 | 110 | 88 | 88 | 111 | 88 | 88
7 | 103 | 84 | 80 | 108 | 90 | 85 | 114 | 96 | 91 | 114 | 100 | 92 | 53 | 56 | 55 | 55 | 59 | 58 | 57 | 62 | 61 | 57 | 62 | 61 | 44 | 46 | 45 | 46 | 49 | 48 | 50 | 51 | 50 | 50 | 51 | 51 | 45 | 46 | 45 | 46 | 49 | 48 | 50 | 51 | 50 | 50 | 52 | 51
7.5 | 108 | 96 | 95 | 109 | 97 | 96 | 111 | 97 | 96 | 111 | 98 | 96 | 104 | 89 | 88 | 105 | 90 | 90 | 106 | 90 | 90 | 106 | 92 | 90 | 101 | 85 | 84 | 101 | 87 | 85 | 103 | 88 | 87 | 103 | 88 | 87 | 101 | 85 | 84 | 101 | 87 | 85 | 103 | 87 | 87 | 103 | 88 | 87
8 | 88 | 80 | 80 | 106 | 93 | 89 | 120 | 107 | 100 | 125 | 111 | 104 | 53 | 53 | 52 | 57 | 57 | 57 | 63 | 64 | 63 | 63 | 64 | 64 | 44 | 44 | 44 | 48 | 48 | 48 | 54 | 53 | 53 | 56 | 55 | 55 | 42 | 43 | 43 | 45 | 48 | 48 | 53 | 53 | 52 | 54 | 55 | 54
9 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24 | 109 | 33 | 24

## highflow_risk
river ids | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
1 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56
2 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 55 | 56 | 55 | 55 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55 | 56 | 56 | 55
3 | 55 | 53 | 56 | 55 | 52 | 56 | 55 | 52 | 56 | 55 | 52 | 56 | 55 | 53 | 56 | 55 | 52 | 56 | 55 | 52 | 56 | 55 | 52 | 56 | 55 | 53 | 56 | 55 | 52 | 56 | 55 | 52 | 56 | 55 | 52 | 56 | 55 | 53 | 56 | 55 | 52 | 56 | 55 | 52 | 56 | 55 | 52 | 56
4 | 55 | 58 | 58 | 55 | 58 | 58 | 55 | 57 | 58 | 55 | 57 | 58 | 56 | 58 | 58 | 55 | 58 | 58 | 55 | 58 | 58 | 55 | 58 | 58 | 57 | 58 | 58 | 57 | 58 | 58 | 57 | 58 | 58 | 57 | 58 | 58 | 57 | 58 | 58 | 57 | 58 | 58 | 57 | 58 | 58 | 57 | 58 | 58
4.5 | 55 | 55 | 59 | 55 | 55 | 59 | 55 | 55 | 57 | 55 | 55 | 57 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59
5 | 56 | 62 | 65 | 55 | 62 | 65 | 55 | 62 | 65 | 54 | 62 | 65 | 56 | 62 | 65 | 55 | 62 | 65 | 55 | 62 | 65 | 54 | 62 | 65 | 56 | 62 | 65 | 55 | 62 | 65 | 55 | 62 | 65 | 54 | 62 | 65 | 56 | 62 | 65 | 55 | 62 | 65 | 55 | 62 | 65 | 54 | 62 | 65
6 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67 | 55 | 63 | 67
7 | 55 | 55 | 57 | 55 | 55 | 57 | 55 | 55 | 57 | 55 | 55 | 57 | 55 | 55 | 57 | 55 | 55 | 57 | 55 | 55 | 57 | 55 | 55 | 57 | 57 | 55 | 57 | 57 | 55 | 57 | 56 | 55 | 57 | 56 | 55 | 57 | 57 | 55 | 57 | 57 | 55 | 57 | 56 | 55 | 57 | 56 | 55 | 57
7.5 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 56 | 57 | 60 | 56 | 57 | 60 | 56 | 57 | 60 | 56 | 57 | 60 | 56 | 57 | 60 | 56 | 57 | 60 | 56 | 57 | 60 | 56 | 57 | 60
8 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 56 | 59 | 55 | 58 | 60 | 55 | 58 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 56 | 58 | 60 | 56 | 58 | 60 | 55 | 58 | 60 | 55 | 58 | 60 | 56 | 58 | 60 | 56 | 58 | 60 | 55 | 58 | 60 | 55 | 58 | 60
9 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60 | 55 | 57 | 60

## mean_flow
river ids | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
1 | 4731.3004 | 4894.6806 | 4994.0064 | 4712.9849 | 4876.3651 | 4975.6908 | 4691.09 | 4854.4702 | 4953.796 | 4687.7229 | 4851.1031 | 4950.4288 | 4861.0055 | 5024.3035 | 5123.6386 | 4842.6889 | 5005.9869 | 5105.3219 | 4820.7931 | 4984.091 | 5083.4261 | 4817.4257 | 4980.7237 | 5080.0588 | 4861.0365 | 5024.3344 | 5123.6695 | 4842.7194 | 5006.0174 | 5105.3525 | 4820.8231 | 4984.1211 | 5083.4562 | 4817.4557 | 4980.7537 | 5080.0887 | 4866.7662 | 5031.0958 | 5130.3138 | 4848.4492 | 5012.7788 | 5111.9968 | 4826.5529 | 4990.8825 | 5090.1004 | 4823.1855 | 4987.515 | 5086.733
2 | 8578.3015 | 8821.5391 | 9001.1493 | 8552.9031 | 8796.1407 | 8975.7509 | 8521.5827 | 8764.8203 | 8944.4305 | 8517.0895 | 8760.3271 | 8939.9372 | 8832.7977 | 9076.2296 | 9255.7005 | 8807.3938 | 9050.8257 | 9230.2965 | 8776.0677 | 9019.4996 | 9198.9704 | 8771.5734 | 9015.0054 | 9194.4762 | 8894.298 | 9138.0833 | 9317.3642 | 8868.8917 | 9112.677 | 9291.9579 | 8837.5631 | 9081.3484 | 9260.6293 | 8833.0685 | 9076.8537 | 9256.1346 | 8889.9756 | 9134.8719 | 9313.9928 | 8864.5696 | 9109.4659 | 9288.5868 | 8833.2413 | 9078.1376 | 9257.2585 | 8828.7467 | 9073.643 | 9252.7639
3 | 2959.486 | 2935.5938 | 2948.1623 | 2956.6255 | 2932.7333 | 2945.3018 | 2954.343 | 2930.4508 | 2943.0193 | 2953.9224 | 2930.0302 | 2942.5988 | 2959.562 | 2935.6697 | 2948.2383 | 2956.7011 | 2932.8089 | 2945.3775 | 2954.4183 | 2930.5261 | 2943.0946 | 2953.9977 | 2930.1055 | 2942.674 | 2959.5897 | 2935.6975 | 2948.266 | 2956.7287 | 2932.8365 | 2945.4051 | 2954.4458 | 2930.5536 | 2943.1221 | 2954.0252 | 2930.133 | 2942.7015 | 2959.5945 | 2935.7022 | 2948.2708 | 2956.7335 | 2932.8413 | 2945.4098 | 2954.4505 | 2930.5583 | 2943.1268 | 2954.0299 | 2930.1377 | 2942.7062
4 | 14416.1934 | 15274.5803 | 15543.9625 | 14373.0953 | 15231.4821 | 15500.8643 | 14339.4423 | 15197.8292 | 15467.2114 | 14334.6795 | 15193.0664 | 15462.4486 | 14659.8854 | 15518.27 | 15787.679 | 14616.7873 | 15475.1718 | 15744.5809 | 14583.1343 | 15441.5189 | 15710.9279 | 14578.3715 | 15436.7561 | 15706.1651 | 14900.6702 | 15759.0175 | 16028.4781 | 14857.572 | 15715.9193 | 15985.3799 | 14823.9191 | 15682.2664 | 15951.727 | 14819.1563 | 15677.5036 | 15946.9641 | 14904.9403 | 15763.2812 | 16032.7435 | 14861.8422 | 15720.1831 | 15989.6454 | 14828.1892 | 15686.5301 | 15955.9925 | 14823.4264 | 15681.7673 | 15951.2296
4.5 | 17375.6794 | 18210.1741 | 18492.1248 | 17329.7208 | 18164.2154 | 18446.1662 | 17293.7853 | 18128.28 | 18410.2307 | 17288.6019 | 18123.0966 | 18405.0473 | 17619.4474 | 18453.9398 | 18735.9173 | 17573.4884 | 18407.9808 | 18689.9583 | 17537.5526 | 18372.045 | 18654.0226 | 17532.3692 | 18366.8616 | 18648.8391 | 17860.2599 | 18694.715 | 18976.7441 | 17814.3008 | 18648.7559 | 18930.785 | 17778.3649 | 18612.82 | 18894.8491 | 17773.1814 | 18607.6365 | 18889.6656 | 17864.5348 | 18698.9835 | 18981.0143 | 17818.5757 | 18653.0243 | 18935.0552 | 17782.6398 | 18617.0884 | 18899.1193 | 17777.4563 | 18611.905 | 18893.9358
5 | 17223.0192 | 18524.0824 | 18891.4275 | 17216.2988 | 18517.362 | 18884.7071 | 17208.9282 | 18509.9914 | 18877.3365 | 17206.1429 | 18507.2062 | 18874.5512 | 17223.0537 | 18524.1169 | 18891.462 | 17216.3332 | 18517.3964 | 18884.7415 | 17208.9625 | 18510.0257 | 18877.3708 | 17206.1772 | 18507.2404 | 18874.5855 | 17223.0859 | 18524.1491 | 18891.4942 | 17216.3653 | 18517.4285 | 18884.7736 | 17208.9945 | 18510.0577 | 18877.4028 | 17206.2092 | 18507.2724 | 18874.6175 | 17223.0863 | 18524.1496 | 18891.4947 | 17216.3658 | 18517.429 | 18884.7741 | 17208.995 | 18510.0582 | 18877.4033 | 17206.2097 | 18507.2729 | 18874.618
6 | 18098.9104 | 19400.9391 | 19775.0659 | 18092.1906 | 19394.2193 | 19768.3461 | 18084.8207 | 19386.8493 | 19760.9762 | 18082.0358 | 19384.0644 | 19758.1912 | 18098.9449 | 19400.9735 | 19775.1004 | 18092.2251 | 19394.2537 | 19768.3805 | 18084.855 | 19386.8837 | 19761.0105 | 18082.07 | 19384.0986 | 19758.2255 | 18098.9771 | 19401.0058 | 19775.1326 | 18092.2572 | 19394.2858 | 19768.4127 | 18084.8871 | 19386.9157 | 19761.0426 | 18082.102 | 19384.1307 | 19758.2575 | 18098.9776 | 19401.0062 | 19775.1331 | 18092.2576 | 19394.2862 | 19768.4131 | 18084.8875 | 19386.9161 | 19761.043 | 18082.1025 | 19384.1311 | 19758.258
7 | 53837.0328 | 56472.3914 | 57429.1348 | 53758.7244 | 56394.0829 | 57350.8263 | 53683.8612 | 56319.2197 | 57275.9631 | 53671.358 | 56306.7166 | 57263.46 | 54593.3011 | 57228.9118 | 58185.5764 | 54514.9412 | 57150.5519 | 58107.2165 | 54440.0255 | 57075.6362 | 58032.3008 | 54427.5132 | 57063.1239 | 58019.7885 | 54968.3487 | 57604.5651 | 58561.2553 | 54889.9748 | 57526.1912 | 58482.8814 | 54815.0447 | 57451.2611 | 58407.9512 | 54802.5298 | 57438.7462 | 58395.4364 | 54970.5185 | 57607.8699 | 58564.419 | 54892.1448 | 57529.4962 | 58486.0454 | 54817.2149 | 57454.5663 | 58411.1154 | 54804.7001 | 57442.0515 | 58398.6007
7.5 | 35474.5898 | 37611.1131 | 38267.1907 | 35421.9114 | 37558.4347 | 38214.5123 | 35378.606 | 37515.1293 | 38171.2069 | 35370.6377 | 37507.1609 | 38163.2386 | 35718.3923 | 37854.9133 | 38511.0177 | 35665.7134 | 37802.2344 | 38458.3389 | 35622.4077 | 37758.9287 | 38415.0331 | 35614.4392 | 37750.9602 | 38407.0646 | 35959.237 | 38095.7207 | 38751.8767 | 35906.558 | 38043.0417 | 38699.1976 | 35863.252 | 37999.7357 | 38655.8917 | 35855.2835 | 37991.7672 | 38647.9232 | 35963.5124 | 38099.9897 | 38756.1474 | 35910.8333 | 38047.3106 | 38703.4683 | 35867.5273 | 38004.0046 | 38660.1623 | 35859.5588 | 37996.0361 | 38652.1938
8 | 61192.1916 | 64669.7695 | 65925.2253 | 60985.5123 | 64463.0902 | 65718.5461 | 60781.3604 | 64258.9383 | 65514.3942 | 60745.0655 | 64222.6435 | 65478.0993 | 62166.7136 | 65644.4687 | 66899.825 | 61959.983 | 65437.738 | 66693.0943 | 61755.7786 | 65233.5336 | 66488.8899 | 61719.4746 | 65197.2296 | 66452.5859 | 62614.3153 | 66093.0619 | 67348.5478 | 62407.5707 | 65886.3172 | 67141.8031 | 62203.3518 | 65682.0983 | 66937.5842 | 62167.0453 | 65645.7918 | 66901.2777 | 62646.8123 | 66127.7136 | 67385.2904 | 62440.0679 | 65920.9692 | 67178.546 | 62235.8493 | 65716.7506 | 66974.3274 | 62199.5428 | 65680.4441 | 66938.0209
9 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515 | 6163.6207 | 6430.9553 | 6511.0515

## CSO_events
cso ids | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
1 | 175.5686 | 175.5686 | 175.5686 | 173.1252 | 173.1252 | 173.1252 | 170.2065 | 170.2065 | 170.2065 | 169.7575 | 169.7575 | 169.7575 | 192.8941 | 192.8941 | 192.8941 | 190.4497 | 190.4497 | 190.4497 | 187.53 | 187.53 | 187.53 | 187.0808 | 187.0808 | 187.0808 | 192.9251 | 192.9251 | 192.9251 | 190.4802 | 190.4802 | 190.4802 | 187.56 | 187.56 | 187.5601 | 187.1108 | 187.1108 | 187.1108 | 193.278 | 193.278 | 193.278 | 190.8332 | 190.8332 | 190.8332 | 187.913 | 187.913 | 187.913 | 187.4637 | 187.4637 | 187.4638
2 | 124.9048 | 124.9048 | 124.9048 | 123.9213 | 123.9213 | 123.9213 | 122.6211 | 122.6211 | 122.6211 | 122.4644 | 122.4644 | 122.4644 | 141.0967 | 141.0967 | 141.0967 | 140.1087 | 140.1087 | 140.1087 | 138.8038 | 138.8038 | 138.8038 | 138.6462 | 138.6462 | 138.6462 | 148.455 | 148.455 | 148.455 | 147.465 | 147.465 | 147.465 | 146.1581 | 146.1581 | 146.1581 | 146.0002 | 146.0002 | 146.0002 | 146.8752 | 146.8752 | 146.8752 | 145.8856 | 145.8856 | 145.8856 | 144.579 | 144.579 | 144.579 | 144.4211 | 144.4211 | 144.4211
3 | 115.382 | 115.382 | 115.382 | 114.8627 | 114.8628 | 114.8628 | 114.4442 | 114.4442 | 114.4442 | 114.3672 | 114.3672 | 114.3672 | 115.458 | 115.458 | 115.458 | 114.9384 | 114.9384 | 114.9384 | 114.5195 | 114.5195 | 114.5195 | 114.4425 | 114.4425 | 114.4425 | 115.4857 | 115.4857 | 115.4857 | 114.966 | 114.966 | 114.966 | 114.547 | 114.547 | 114.547 | 114.47 | 114.47 | 114.47 | 115.4905 | 115.4905 | 115.4905 | 114.9707 | 114.9707 | 114.9707 | 114.5517 | 114.5518 | 114.5518 | 114.4747 | 114.4747 | 114.4747
4 | 233.5491 | 233.5491 | 233.5491 | 231.1777 | 231.1777 | 231.1777 | 229.326 | 229.326 | 229.326 | 229.064 | 229.064 | 229.064 | 246.4184 | 246.4184 | 246.4184 | 244.047 | 244.047 | 244.047 | 242.1953 | 242.1953 | 242.1953 | 241.9332 | 241.9332 | 241.9332 | 258.4329 | 258.4329 | 258.4329 | 256.0615 | 256.0615 | 256.0615 | 254.2098 | 254.2098 | 254.2098 | 253.9477 | 253.9477 | 253.9477 | 258.5957 | 258.5957 | 258.5957 | 256.2243 | 256.2243 | 256.2243 | 254.3726 | 254.3726 | 254.3726 | 254.1105 | 254.1105 | 254.1106
5 | 191.4438 | 191.4438 | 191.4438 | 191.269 | 191.269 | 191.269 | 191.0779 | 191.0779 | 191.078 | 191.0061 | 191.0061 | 191.0061 | 191.4553 | 191.4553 | 191.4553 | 191.2805 | 191.2805 | 191.2805 | 191.0894 | 191.0894 | 191.0894 | 191.0175 | 191.0175 | 191.0175 | 191.466 | 191.4661 | 191.4661 | 191.2912 | 191.2912 | 191.2912 | 191.1 | 191.1001 | 191.1001 | 191.0282 | 191.0282 | 191.0282 | 191.4662 | 191.4662 | 191.4662 | 191.2913 | 191.2913 | 191.2914 | 191.1002 | 191.1002 | 191.1002 | 191.0283 | 191.0283 | 191.0283
6 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948 | 13.1948
7 | 838.2279 | 838.228 | 838.228 | 838.1075 | 838.1075 | 838.1076 | 837.9844 | 837.9845 | 837.9845 | 837.9629 | 837.963 | 837.963 | 939.9292 | 939.9292 | 939.9292 | 939.786 | 939.7861 | 939.7861 | 939.6397 | 939.6398 | 939.6398 | 939.6142 | 939.6142 | 939.6143 | 965.5154 | 965.5154 | 965.5154 | 965.3665 | 965.3665 | 965.3665 | 965.2143 | 965.2144 | 965.2144 | 965.1878 | 965.1878 | 965.1878 | 965.9807 | 965.9808 | 965.9808 | 965.8318 | 965.8319 | 965.8319 | 965.6797 | 965.6797 | 965.6797 | 965.6531 | 965.6532 | 965.6532
8 | 3.3106e-08 | 3.3106e-08 | 3.3106e-08 | 3.2309e-08 | 3.2309e-08 | 3.2309e-08 | 3.1506e-08 | 3.1506e-08 | 3.1506e-08 | 3.1358e-08 | 3.1358e-08 | 3.1358e-08 | 3.4473e-08 | 3.4473e-08 | 3.4473e-08 | 3.3675e-08 | 3.3675e-08 | 3.3675e-08 | 3.2872e-08 | 3.2872e-08 | 3.2872e-08 | 3.2724e-08 | 3.2724e-08 | 3.2724e-08 | 3.4926e-08 | 3.4926e-08 | 3.4926e-08 | 3.4128e-08 | 3.4128e-08 | 3.4128e-08 | 3.3324e-08 | 3.3324e-08 | 3.3324e-08 | 3.3177e-08 | 3.3177e-08 | 3.3177e-08 | 3.5108e-08 | 3.5108e-08 | 3.5108e-08 | 3.431e-08 | 3.431e-08 | 3.431e-08 | 3.3506e-08 | 3.3506e-08 | 3.3506e-08 | 3.3358e-08 | 3.3358e-08 | 3.3358e-08
9 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09 | 5.5427e-09

## ammonia_conc
river ids | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
1 | 0.61515 | 0.60406 | 0.59772 | 0.62209 | 0.61067 | 0.60417 | 0.63064 | 0.61881 | 0.6121 | 0.63198 | 0.62008 | 0.61334 | 0.62635 | 0.6161 | 0.61005 | 0.63281 | 0.62225 | 0.61606 | 0.64073 | 0.62979 | 0.62344 | 0.64197 | 0.63097 | 0.62459 | 0.62644 | 0.61618 | 0.61014 | 0.63289 | 0.62233 | 0.61615 | 0.64082 | 0.62988 | 0.62352 | 0.64206 | 0.63105 | 0.62467 | 0.62668 | 0.6164 | 0.61037 | 0.63312 | 0.62254 | 0.61637 | 0.64104 | 0.63008 | 0.62373 | 0.64227 | 0.63125 | 0.62488
2 | 0.58624 | 0.57457 | 0.56837 | 0.59149 | 0.57958 | 0.57326 | 0.59814 | 0.58592 | 0.57944 | 0.59911 | 0.58684 | 0.58033 | 0.59884 | 0.5876 | 0.58166 | 0.60367 | 0.5922 | 0.58617 | 0.60978 | 0.59802 | 0.59185 | 0.61066 | 0.59887 | 0.59268 | 0.60185 | 0.59053 | 0.58463 | 0.6066 | 0.59506 | 0.58907 | 0.61261 | 0.60078 | 0.59466 | 0.61348 | 0.60161 | 0.59547 | 0.60136 | 0.59006 | 0.58416 | 0.60613 | 0.5946 | 0.5886 | 0.61215 | 0.60034 | 0.59421 | 0.61302 | 0.60117 | 0.59503
3 | 0.39367 | 0.40224 | 0.40271 | 0.39427 | 0.40287 | 0.40336 | 0.39474 | 0.40336 | 0.40387 | 0.39483 | 0.40345 | 0.40397 | 0.39386 | 0.40244 | 0.4029 | 0.39446 | 0.40306 | 0.40355 | 0.39493 | 0.40355 | 0.40406 | 0.39501 | 0.40364 | 0.40416 | 0.39393 | 0.40251 | 0.40297 | 0.39453 | 0.40313 | 0.40362 | 0.395 | 0.40362 | 0.40413 | 0.39508 | 0.40371 | 0.40423 | 0.39394 | 0.40252 | 0.40298 | 0.39454 | 0.40315 | 0.40363 | 0.39501 | 0.40363 | 0.40414 | 0.3951 | 0.40372 | 0.40424
4 | 0.35129 | 0.33243 | 0.32824 | 0.35328 | 0.33421 | 0.32997 | 0.35485 | 0.33561 | 0.33133 | 0.35507 | 0.33581 | 0.33153 | 0.35792 | 0.33918 | 0.33503 | 0.35988 | 0.34093 | 0.33674 | 0.36142 | 0.34232 | 0.33808 | 0.36164 | 0.34251 | 0.33827 | 0.3638 | 0.34519 | 0.34104 | 0.36573 | 0.34691 | 0.34273 | 0.36724 | 0.34828 | 0.34407 | 0.36746 | 0.34847 | 0.34426 | 0.36388 | 0.34527 | 0.34112 | 0.36581 | 0.34699 | 0.34281 | 0.36732 | 0.34836 | 0.34415 | 0.36754 | 0.34855 | 0.34434
4.5 | 0.3422 | 0.3281 | 0.32465 | 0.34379 | 0.32956 | 0.32608 | 0.34504 | 0.33071 | 0.3272 | 0.34522 | 0.33087 | 0.32737 | 0.34769 | 0.33362 | 0.33019 | 0.34925 | 0.33506 | 0.33161 | 0.35049 | 0.33619 | 0.33272 | 0.35067 | 0.33636 | 0.33288 | 0.35258 | 0.33856 | 0.33514 | 0.35413 | 0.33998 | 0.33654 | 0.35535 | 0.34111 | 0.33765 | 0.35552 | 0.34127 | 0.33781 | 0.35264 | 0.33863 | 0.33521 | 0.35419 | 0.34005 | 0.33661 | 0.35541 | 0.34117 | 0.33772 | 0.35559 | 0.34134 | 0.33788
5 | 0.43013 | 0.4186 | 0.41524 | 0.43052 | 0.41896 | 0.4156 | 0.43094 | 0.41937 | 0.416 | 0.4311 | 0.41952 | 0.41615 | 0.43016 | 0.41862 | 0.41526 | 0.43054 | 0.41899 | 0.41562 | 0.43096 | 0.41939 | 0.41602 | 0.43112 | 0.41954 | 0.41617 | 0.43018 | 0.41864 | 0.41528 | 0.43056 | 0.41901 | 0.41564 | 0.43098 | 0.41941 | 0.41604 | 0.43114 | 0.41956 | 0.41619 | 0.43018 | 0.41864 | 0.41528 | 0.43056 | 0.41901 | 0.41564 | 0.43098 | 0.41941 | 0.41604 | 0.43114 | 0.41956 | 0.41619
6 | 0.3899 | 0.38048 | 0.37745 | 0.39022 | 0.38078 | 0.37775 | 0.39057 | 0.38111 | 0.37808 | 0.3907 | 0.38124 | 0.37821 | 0.38992 | 0.38049 | 0.37747 | 0.39024 | 0.3808 | 0.37777 | 0.39059 | 0.38113 | 0.3781 | 0.39072 | 0.38126 | 0.37823 | 0.38994 | 0.38051 | 0.37749 | 0.39026 | 0.38081 | 0.37779 | 0.3906 | 0.38115 | 0.37812 | 0.39074 | 0.38128 | 0.37824 | 0.38994 | 0.38051 | 0.37749 | 0.39026 | 0.38081 | 0.37779 | 0.3906 | 0.38115 | 0.37812 | 0.39074 | 0.38128 | 0.37824
7 | 0.69291 | 0.67437 | 0.66979 | 0.6946 | 0.67603 | 0.67174 | 0.69655 | 0.67734 | 0.67335 | 0.69683 | 0.67761 | 0.67362 | 0.74145 | 0.72206 | 0.71731 | 0.74327 | 0.72379 | 0.71927 | 0.74534 | 0.7252 | 0.72091 | 0.74563 | 0.72576 | 0.72118 | 0.75173 | 0.73199 | 0.72766 | 0.75386 | 0.73401 | 0.72937 | 0.75566 | 0.73541 | 0.73074 | 0.75566 | 0.73569 | 0.73129 | 0.75219 | 0.73243 | 0.72755 | 0.75374 | 0.73389 | 0.72925 | 0.75554 | 0.73586 | 0.73091 | 0.75613 | 0.73614 | 0.73118
7.5 | 0.26772 | 0.26236 | 0.25992 | 0.26813 | 0.26276 | 0.26073 | 0.26891 | 0.26266 | 0.26105 | 0.26897 | 0.26272 | 0.26111 | 0.27022 | 0.26485 | 0.26241 | 0.27064 | 0.26525 | 0.26322 | 0.27141 | 0.26516 | 0.26354 | 0.27147 | 0.26564 | 0.2636 | 0.27249 | 0.2667 | 0.26508 | 0.27333 | 0.26752 | 0.26548 | 0.27368 | 0.26743 | 0.26539 | 0.27332 | 0.26749 | 0.26586 | 0.27294 | 0.26715 | 0.2647 | 0.27294 | 0.26713 | 0.26509 | 0.27328 | 0.26787 | 0.26542 | 0.27377 | 0.26793 | 0.26548
8 | 0.53184 | 0.5197 | 0.51669 | 0.53482 | 0.52261 | 0.51978 | 0.53804 | 0.52533 | 0.52268 | 0.53858 | 0.52586 | 0.5232 | 0.56831 | 0.55554 | 0.55246 | 0.57145 | 0.55857 | 0.55562 | 0.57483 | 0.56142 | 0.55862 | 0.57539 | 0.56218 | 0.55915 | 0.57647 | 0.56344 | 0.56065 | 0.57985 | 0.56666 | 0.56363 | 0.58304 | 0.56951 | 0.56642 | 0.5834 | 0.57006 | 0.56716 | 0.57631 | 0.56328 | 0.5601 | 0.57926 | 0.56609 | 0.56307 | 0.58244 | 0.56935 | 0.56606 | 0.58323 | 0.56989 | 0.5666
9 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848 | 0.11387 | 0.10996 | 0.10848

## nitrate_conc
river ids | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
1 | 0.79504 | 1.0325 | 1.0949 | 0.80289 | 1.0412 | 1.1037 | 0.81253 | 1.0519 | 1.1145 | 0.81404 | 1.0536 | 1.1162 | 0.78678 | 1.0184 | 1.0793 | 0.7939 | 1.0263 | 1.0873 | 0.80263 | 1.0359 | 1.0972 | 0.80399 | 1.0374 | 1.0987 | 0.78684 | 1.0185 | 1.0794 | 0.79396 | 1.0263 | 1.0874 | 0.80269 | 1.036 | 1.0972 | 0.80405 | 1.0375 | 1.0987 | 0.7867 | 1.0186 | 1.0796 | 0.79381 | 1.0265 | 1.0876 | 0.80252 | 1.0362 | 1.0974 | 0.80388 | 1.0377 | 1.0989
2 | 1.0149 | 1.2105 | 1.2753 | 1.0226 | 1.2183 | 1.2831 | 1.0322 | 1.2281 | 1.293 | 1.0336 | 1.2295 | 1.2945 | 0.99429 | 1.1872 | 1.2503 | 1.0011 | 1.1941 | 1.2573 | 1.0097 | 1.2028 | 1.2661 | 1.0109 | 1.2041 | 1.2674 | 0.99184 | 1.1837 | 1.2464 | 0.99852 | 1.1904 | 1.2533 | 1.0069 | 1.1989 | 1.2619 | 1.0081 | 1.2002 | 1.2631 | 0.99215 | 1.1845 | 1.2474 | 0.99885 | 1.1913 | 1.2542 | 1.0073 | 1.1999 | 1.2629 | 1.0085 | 1.2011 | 1.2641
3 | 1.8549 | 1.8447 | 1.8438 | 1.8575 | 1.8473 | 1.8465 | 1.8595 | 1.8494 | 1.8486 | 1.8599 | 1.8498 | 1.849 | 1.8549 | 1.8447 | 1.8438 | 1.8575 | 1.8473 | 1.8464 | 1.8595 | 1.8494 | 1.8485 | 1.8599 | 1.8497 | 1.8489 | 1.8549 | 1.8447 | 1.8438 | 1.8574 | 1.8473 | 1.8464 | 1.8595 | 1.8493 | 1.8485 | 1.8599 | 1.8497 | 1.8489 | 1.8549 | 1.8447 | 1.8438 | 1.8574 | 1.8473 | 1.8464 | 1.8595 | 1.8493 | 1.8485 | 1.8599 | 1.8497 | 1.8489
4 | 2.185 | 2.231 | 2.2457 | 2.1976 | 2.2432 | 2.2577 | 2.2075 | 2.2527 | 2.2672 | 2.209 | 2.2541 | 2.2685 | 2.124 | 2.1722 | 2.1873 | 2.1358 | 2.1836 | 2.1986 | 2.1452 | 2.1926 | 2.2076 | 2.1465 | 2.1938 | 2.2088 | 2.0719 | 2.1217 | 2.1372 | 2.0831 | 2.1325 | 2.1479 | 2.0919 | 2.141 | 2.1564 | 2.0931 | 2.1423 | 2.1576 | 2.0713 | 2.1212 | 2.1366 | 2.0825 | 2.132 | 2.1473 | 2.0913 | 2.1405 | 2.1558 | 2.0925 | 2.1417 | 2.157
4.5 | 2.1103 | 2.1528 | 2.1654 | 2.1204 | 2.1627 | 2.1753 | 2.1285 | 2.1705 | 2.1831 | 2.1296 | 2.1717 | 2.1842 | 2.0637 | 2.1071 | 2.1201 | 2.0733 | 2.1166 | 2.1295 | 2.081 | 2.124 | 2.1369 | 2.0821 | 2.1251 | 2.138 | 2.0234 | 2.0676 | 2.0807 | 2.0326 | 2.0766 | 2.0898 | 2.0399 | 2.0838 | 2.0969 | 2.0409 | 2.0848 | 2.0979 | 2.0229 | 2.0672 | 2.0803 | 2.0321 | 2.0762 | 2.0893 | 2.0394 | 2.0833 | 2.0964 | 2.0405 | 2.0843 | 2.0974
5 | 1.2008 | 1.1937 | 1.2039 | 1.2016 | 1.1945 | 1.2047 | 1.2025 | 1.1953 | 1.2055 | 1.2029 | 1.1956 | 1.2058 | 1.2008 | 1.1937 | 1.2039 | 1.2016 | 1.1945 | 1.2047 | 1.2025 | 1.1953 | 1.2055 | 1.2029 | 1.1956 | 1.2058 | 1.2008 | 1.1937 | 1.2039 | 1.2016 | 1.1945 | 1.2047 | 1.2025 | 1.1953 | 1.2055 | 1.2029 | 1.1956 | 1.2058 | 1.2008 | 1.1937 | 1.2039 | 1.2016 | 1.1945 | 1.2047 | 1.2025 | 1.1953 | 1.2055 | 1.2029 | 1.1956 | 1.2058
6 | 1.1433 | 1.1379 | 1.1473 | 1.144 | 1.1386 | 1.148 | 1.1448 | 1.1393 | 1.1488 | 1.1451 | 1.1396 | 1.1491 | 1.1433 | 1.1379 | 1.1473 | 1.144 | 1.1386 | 1.148 | 1.1448 | 1.1393 | 1.1488 | 1.1451 | 1.1396 | 1.1491 | 1.1433 | 1.1379 | 1.1473 | 1.144 | 1.1386 | 1.148 | 1.1448 | 1.1393 | 1.1488 | 1.1451 | 1.1396 | 1.1491 | 1.1433 | 1.1379 | 1.1473 | 1.144 | 1.1386 | 1.148 | 1.1448 | 1.1393 | 1.1488 | 1.1451 | 1.1396 | 1.1491
7 | 2.4802 | 2.5152 | 2.5787 | 2.4861 | 2.5211 | 2.5851 | 2.4924 | 2.5262 | 2.591 | 2.4933 | 2.5272 | 2.5919 | 2.4463 | 2.4843 | 2.5475 | 2.4521 | 2.4898 | 2.5535 | 2.4583 | 2.4948 | 2.559 | 2.4593 | 2.4962 | 2.5599 | 2.4294 | 2.4675 | 2.5313 | 2.4357 | 2.4735 | 2.5368 | 2.4413 | 2.4783 | 2.5418 | 2.4416 | 2.4792 | 2.5431 | 2.4303 | 2.4684 | 2.5313 | 2.4355 | 2.4734 | 2.5368 | 2.4411 | 2.4792 | 2.5422 | 2.4425 | 2.4801 | 2.5431
7.5 | 1.2703 | 1.3191 | 1.3348 | 1.2724 | 1.3212 | 1.3375 | 1.2748 | 1.3223 | 1.3393 | 1.2751 | 1.3226 | 1.3396 | 1.2621 | 1.3108 | 1.3264 | 1.2642 | 1.3129 | 1.3292 | 1.2666 | 1.3139 | 1.3309 | 1.2669 | 1.3149 | 1.3312 | 1.2547 | 1.3025 | 1.3194 | 1.2574 | 1.3052 | 1.3215 | 1.2591 | 1.3062 | 1.3225 | 1.2586 | 1.3065 | 1.3235 | 1.2553 | 1.3031 | 1.3187 | 1.2566 | 1.3044 | 1.3207 | 1.2582 | 1.3068 | 1.3224 | 1.2593 | 1.3071 | 1.3227
8 | 2.4217 | 2.5126 | 2.6576 | 2.4338 | 2.5246 | 2.6702 | 2.4463 | 2.5363 | 2.6823 | 2.4485 | 2.5384 | 2.6844 | 2.3832 | 2.4766 | 2.6205 | 2.3949 | 2.488 | 2.6326 | 2.4071 | 2.499 | 2.6442 | 2.4092 | 2.5015 | 2.6463 | 2.3663 | 2.46 | 2.6037 | 2.3782 | 2.4713 | 2.6152 | 2.3898 | 2.4821 | 2.6263 | 2.3914 | 2.4841 | 2.6287 | 2.3654 | 2.4592 | 2.6026 | 2.3764 | 2.4696 | 2.6141 | 2.388 | 2.4812 | 2.6255 | 2.3905 | 2.4831 | 2.6276
9 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943 | 0.37926 | 0.41584 | 0.41943

## phosphate_conc
river ids | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
1 | 0.65214 | 0.6296 | 0.62089 | 0.65988 | 0.63693 | 0.62803 | 0.66939 | 0.64593 | 0.63681 | 0.67088 | 0.64734 | 0.63818 | 0.66038 | 0.63835 | 0.62997 | 0.66753 | 0.64514 | 0.6366 | 0.67632 | 0.65346 | 0.64473 | 0.67769 | 0.65476 | 0.646 | 0.66047 | 0.63844 | 0.63006 | 0.66763 | 0.64523 | 0.63669 | 0.67641 | 0.65355 | 0.64482 | 0.67778 | 0.65485 | 0.64609 | 0.66061 | 0.6386 | 0.63023 | 0.66776 | 0.64537 | 0.63685 | 0.67653 | 0.65368 | 0.64496 | 0.6779 | 0.65498 | 0.64623
2 | 0.63186 | 0.60971 | 0.60087 | 0.63784 | 0.61536 | 0.60638 | 0.64541 | 0.62251 | 0.61334 | 0.64651 | 0.62355 | 0.61435 | 0.64164 | 0.62006 | 0.61161 | 0.64711 | 0.62525 | 0.61668 | 0.65403 | 0.6318 | 0.62307 | 0.65503 | 0.63275 | 0.624 | 0.6438 | 0.62234 | 0.61397 | 0.64918 | 0.62743 | 0.61895 | 0.65597 | 0.63387 | 0.62523 | 0.65695 | 0.6348 | 0.62614 | 0.64344 | 0.62196 | 0.61359 | 0.64883 | 0.62708 | 0.61858 | 0.65564 | 0.63353 | 0.62488 | 0.65663 | 0.63447 | 0.62579
3 | 0.3282 | 0.33665 | 0.33747 | 0.32875 | 0.33723 | 0.33807 | 0.32917 | 0.33769 | 0.33853 | 0.32925 | 0.33778 | 0.33861 | 0.3284 | 0.33685 | 0.33767 | 0.32894 | 0.33744 | 0.33827 | 0.32937 | 0.33789 | 0.33873 | 0.32944 | 0.33798 | 0.33881 | 0.32847 | 0.33692 | 0.33775 | 0.32902 | 0.33751 | 0.33834 | 0.32944 | 0.33797 | 0.3388 | 0.32952 | 0.33805 | 0.33889 | 0.32848 | 0.33693 | 0.33776 | 0.32903 | 0.33752 | 0.33835 | 0.32945 | 0.33798 | 0.33881 | 0.32953 | 0.33806 | 0.3389
4 | 0.56364 | 0.5456 | 0.54101 | 0.56668 | 0.54838 | 0.54374 | 0.56907 | 0.55057 | 0.54588 | 0.56941 | 0.55088 | 0.54619 | 0.56812 | 0.55018 | 0.54564 | 0.57108 | 0.5529 | 0.5483 | 0.57341 | 0.55504 | 0.5504 | 0.57374 | 0.55535 | 0.5507 | 0.57217 | 0.55434 | 0.54984 | 0.57506 | 0.557 | 0.55245 | 0.57734 | 0.5591 | 0.5545 | 0.57766 | 0.5594 | 0.55479 | 0.57223 | 0.5544 | 0.5499 | 0.57512 | 0.55706 | 0.55251 | 0.5774 | 0.55916 | 0.55456 | 0.57772 | 0.55946 | 0.55485
4.5 | 0.49908 | 0.4873 | 0.48391 | 0.50133 | 0.4894 | 0.48598 | 0.5031 | 0.49106 | 0.4876 | 0.50336 | 0.4913 | 0.48784 | 0.504 | 0.4922 | 0.48882 | 0.50621 | 0.49427 | 0.49086 | 0.50796 | 0.4959 | 0.49246 | 0.50821 | 0.49614 | 0.49269 | 0.50847 | 0.49666 | 0.49329 | 0.51064 | 0.4987 | 0.4953 | 0.51236 | 0.50031 | 0.49688 | 0.51261 | 0.50054 | 0.49711 | 0.50853 | 0.49673 | 0.49336 | 0.51071 | 0.49877 | 0.49537 | 0.51243 | 0.50037 | 0.49695 | 0.51267 | 0.50061 | 0.49717
5 | 0.5283 | 0.51278 | 0.50945 | 0.52877 | 0.51322 | 0.50989 | 0.52929 | 0.51372 | 0.51038 | 0.52949 | 0.5139 | 0.51056 | 0.52833 | 0.5128 | 0.50947 | 0.5288 | 0.51325 | 0.50992 | 0.52932 | 0.51374 | 0.5104 | 0.52951 | 0.51393 | 0.51059 | 0.52836 | 0.51283 | 0.5095 | 0.52882 | 0.51327 | 0.50994 | 0.52934 | 0.51377 | 0.51043 | 0.52954 | 0.51395 | 0.51061 | 0.52836 | 0.51283 | 0.5095 | 0.52883 | 0.51327 | 0.50994 | 0.52934 | 0.51377 | 0.51043 | 0.52954 | 0.51396 | 0.51061
6 | 0.48586 | 0.47303 | 0.46998 | 0.48626 | 0.47341 | 0.47036 | 0.48669 | 0.47383 | 0.47077 | 0.48686 | 0.47399 | 0.47093 | 0.48589 | 0.47305 | 0.47001 | 0.48628 | 0.47343 | 0.47038 | 0.48672 | 0.47385 | 0.4708 | 0.48689 | 0.47401 | 0.47095 | 0.48591 | 0.47308 | 0.47003 | 0.48631 | 0.47345 | 0.4704 | 0.48674 | 0.47387 | 0.47082 | 0.48691 | 0.47403 | 0.47097 | 0.48591 | 0.47308 | 0.47003 | 0.48631 | 0.47346 | 0.4704 | 0.48674 | 0.47387 | 0.47082 | 0.48691 | 0.47403 | 0.47098
7 | 0.73318 | 0.71819 | 0.71291 | 0.73516 | 0.72009 | 0.71481 | 0.73713 | 0.72192 | 0.71664 | 0.73746 | 0.72223 | 0.71694 | 0.77267 | 0.75666 | 0.75115 | 0.7747 | 0.75861 | 0.75309 | 0.77672 | 0.76049 | 0.75496 | 0.77705 | 0.76083 | 0.75527 | 0.78064 | 0.76451 | 0.75903 | 0.78269 | 0.76647 | 0.76094 | 0.78467 | 0.76834 | 0.76278 | 0.78497 | 0.76865 | 0.76311 | 0.78079 | 0.76464 | 0.75911 | 0.78278 | 0.76655 | 0.76102 | 0.78476 | 0.76847 | 0.76289 | 0.78512 | 0.76879 | 0.76319
7.5 | 0.31914 | 0.31735 | 0.31587 | 0.31962 | 0.31782 | 0.31636 | 0.32005 | 0.31816 | 0.31674 | 0.32012 | 0.31823 | 0.31681 | 0.32242 | 0.32055 | 0.31905 | 0.3229 | 0.32102 | 0.31955 | 0.32333 | 0.32137 | 0.31993 | 0.32341 | 0.32148 | 0.32 | 0.32538 | 0.32341 | 0.32196 | 0.3259 | 0.32391 | 0.32243 | 0.32629 | 0.32426 | 0.32277 | 0.32632 | 0.32433 | 0.32288 | 0.32545 | 0.32348 | 0.32197 | 0.32589 | 0.32391 | 0.32243 | 0.32629 | 0.32433 | 0.32281 | 0.3264 | 0.3244 | 0.32288
8 | 0.58623 | 0.57555 | 0.57156 | 0.58978 | 0.57897 | 0.57496 | 0.59339 | 0.58241 | 0.57837 | 0.59403 | 0.58303 | 0.57899 | 0.61726 | 0.60581 | 0.60163 | 0.62089 | 0.6093 | 0.6051 | 0.62457 | 0.61281 | 0.60859 | 0.62523 | 0.61347 | 0.60921 | 0.62401 | 0.61242 | 0.60827 | 0.62764 | 0.61593 | 0.61171 | 0.63129 | 0.61943 | 0.61516 | 0.63192 | 0.62006 | 0.6158 | 0.62355 | 0.61198 | 0.60777 | 0.62714 | 0.61544 | 0.61121 | 0.63078 | 0.61897 | 0.61468 | 0.63145 | 0.6196 | 0.6153
9 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318 | 0.0056285 | 0.005489 | 0.0054318

## ammonia_load
wwtw name | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
london_mogden_stw | 14611.5159 | 14544.1365 | 14525.9414 | 14611.8542 | 14544.4764 | 14526.2818 | 14612.2242 | 14544.8482 | 14526.6541 | 14612.2941 | 14544.9185 | 14526.7245 | 15058.6751 | 14989.2226 | 14970.4674 | 15059.0102 | 14989.5593 | 14970.8045 | 15059.3767 | 14989.9274 | 14971.1732 | 15059.4459 | 14989.997 | 14971.2429 | 15214.9019 | 15144.7299 | 15125.7803 | 15215.2385 | 15145.068 | 15126.1189 | 15215.6065 | 15145.4377 | 15126.4892 | 15215.676 | 15145.5075 | 15126.5591 | 15222.2375 | 15152.0307 | 15133.0718 | 15222.5735 | 15152.3683 | 15133.4098 | 15222.9409 | 15152.7373 | 15133.7793 | 15223.0103 | 15152.807 | 15133.8492
london_becton_stw | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28523.6517 | 28394.6848 | 28359.9131 | 28524.6997 | 28395.7279 | 28360.9548 | 28524.6997 | 28395.7279 | 28360.9548 | 28524.6997 | 28395.7279 | 28360.9548 | 28524.6997 | 28395.7279 | 28360.9548
london_deepham_stw | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743 | 8029.1239 | 7992.8531 | 7983.0743

## nitrate_load
wwtw name | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
london_mogden_stw | 6245005.5883 | 6216211.1627 | 6208434.8174 | 6245150.4065 | 6216356.658 | 6208580.5297 | 6245308.6919 | 6216515.6934 | 6208739.8049 | 6245338.6008 | 6216545.7454 | 6208769.9027 | 6542265.0721 | 6512095.2282 | 6503947.3117 | 6542410.63 | 6512241.45 | 6504093.7467 | 6542569.71 | 6512401.2669 | 6504253.7996 | 6542599.7819 | 6512431.4799 | 6504284.0578 | 6626730.9935 | 6596172.0633 | 6587919.0716 | 6626877.5604 | 6596319.2945 | 6588066.5163 | 6627037.6733 | 6596480.1449 | 6588227.603 | 6627067.9289 | 6596510.5416 | 6588258.0449 | 6623861.8447 | 6593315.726 | 6585066.184 | 6624007.9976 | 6593462.5414 | 6585213.2123 | 6624167.6737 | 6593622.953 | 6585373.8595 | 6624197.8503 | 6593653.2702 | 6585404.2219
london_becton_stw | 9610025.9206 | 9566580.5451 | 9554865.9016 | 9610025.9206 | 9566580.5451 | 9554865.9016 | 9610025.9206 | 9566580.5451 | 9554865.9016 | 9610025.9206 | 9566580.5451 | 9554865.9016 | 9610025.9206 | 9566580.5452 | 9554865.9016 | 9610025.9206 | 9566580.5452 | 9554865.9016 | 9610025.9206 | 9566580.5452 | 9554865.9016 | 9610025.9206 | 9566580.5452 | 9554865.9016 | 9610025.9211 | 9566580.5457 | 9554865.9021 | 9610025.9211 | 9566580.5457 | 9554865.9021 | 9610025.9211 | 9566580.5457 | 9554865.9021 | 9610025.9211 | 9566580.5457 | 9554865.9021 | 9610379.0069 | 9566931.9633 | 9555216.8682 | 9610379.0069 | 9566931.9633 | 9555216.8682 | 9610379.0069 | 9566931.9633 | 9555216.8682 | 9610379.0069 | 9566931.9633 | 9555216.8682
london_deepham_stw | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026 | 2705125.7333 | 2692907.1041 | 2689612.6026

## phosphate_load
wwtw name | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
london_mogden_stw | 205808.351 | 205785.9825 | 205780.0735 | 205808.8531 | 205786.4854 | 205780.5767 | 205809.3684 | 205787.0018 | 205781.0934 | 205809.4601 | 205787.0937 | 205781.1853 | 211720.8755 | 211697.861 | 211691.7813 | 211721.4418 | 211698.4281 | 211692.3486 | 211722.0224 | 211699.0097 | 211692.9305 | 211722.1254 | 211699.113 | 211693.0338 | 213805.985 | 213782.7441 | 213776.6046 | 213806.5689 | 213783.3289 | 213777.1897 | 213807.1675 | 213783.9286 | 213777.7896 | 213807.2738 | 213784.035 | 213777.8961 | 213734.8121 | 213711.5787 | 213705.4412 | 213735.3953 | 213712.1628 | 213706.0255 | 213735.9932 | 213712.7617 | 213706.6247 | 213736.0993 | 213712.868 | 213706.7311
london_becton_stw | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461315.1713 | 461265.9931 | 461253.0171 | 461332.5563 | 461283.3762 | 461270.3997 | 461332.5563 | 461283.3762 | 461270.3997 | 461332.5563 | 461283.3762 | 461270.3997 | 461332.5563 | 461283.3762 | 461270.3997
london_deepham_stw | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372 | 130527.207 | 130513.3051 | 130509.6372

## residential_demand
catchment wfdid | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
2247inside | 7698.7541 | 7698.7541 | 7698.7541 | 7639.9125 | 7639.9125 | 7639.9125 | 7561.5264 | 7561.5264 | 7561.5264 | 7552.1748 | 7552.1748 | 7552.1748 | 8690.7406 | 8690.7406 | 8690.7406 | 8631.8991 | 8631.8991 | 8631.8991 | 8553.513 | 8553.513 | 8553.513 | 8544.1613 | 8544.1613 | 8544.1613 | 9141.6597 | 9141.6597 | 9141.6597 | 9082.8181 | 9082.8181 | 9082.8181 | 9004.432 | 9004.432 | 9004.432 | 8995.0804 | 8995.0804 | 8995.0804 | 9043.9851 | 9043.9851 | 9043.9851 | 8985.1435 | 8985.1435 | 8985.1435 | 8906.7574 | 8906.7574 | 8906.7574 | 8897.4058 | 8897.4058 | 8897.4058
1362inside | 1748.5876 | 1748.5876 | 1748.5876 | 1741.1005 | 1741.1005 | 1741.1005 | 1735.1394 | 1735.1394 | 1735.1394 | 1734.0407 | 1734.0407 | 1734.0407 | 1748.5876 | 1748.5876 | 1748.5876 | 1741.1005 | 1741.1005 | 1741.1005 | 1735.1394 | 1735.1394 | 1735.1394 | 1734.0407 | 1734.0407 | 1734.0407 | 1748.5876 | 1748.5876 | 1748.5876 | 1741.1005 | 1741.1005 | 1741.1005 | 1735.1394 | 1735.1394 | 1735.1394 | 1734.0407 | 1734.0407 | 1734.0407 | 1748.5876 | 1748.5876 | 1748.5876 | 1741.1005 | 1741.1005 | 1741.1005 | 1735.1394 | 1735.1394 | 1735.1394 | 1734.0407 | 1734.0407 | 1734.0407
1363inside | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675 | 362.3675
2452inside | 18578.3047 | 18578.3047 | 18578.3047 | 18578.3047 | 18578.3047 | 18578.3047 | 18578.3047 | 18578.3047 | 18578.3047 | 18578.3047 | 18578.3047 | 18578.3047 | 20339.5278 | 20339.5278 | 20339.5278 | 20339.5278 | 20339.5278 | 20339.5278 | 20339.5278 | 20339.5278 | 20339.5278 | 20339.5278 | 20339.5278 | 20339.5278 | 20780.8523 | 20780.8523 | 20780.8523 | 20780.8523 | 20780.8523 | 20780.8523 | 20780.8523 | 20780.8523 | 20780.8523 | 20780.8523 | 20780.8523 | 20780.8523 | 20794.8214 | 20794.8214 | 20794.8214 | 20794.8214 | 20794.8214 | 20794.8214 | 20794.8214 | 20794.8214 | 20794.8214 | 20794.8214 | 20794.8214 | 20794.8214
0000inside | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411 | 8790.411
| 37178.425 | 37178.425 | 37178.425 | 37112.0963 | 37112.0963 | 37112.0963 | 37027.7491 | 37027.7491 | 37027.7491 | 37017.2987 | 37017.2987 | 37017.2987 | 39931.6346 | 39931.6346 | 39931.6346 | 39865.3059 | 39865.3059 | 39865.3059 | 39780.9587 | 39780.9587 | 39780.9587 | 39770.5083 | 39770.5083 | 39770.5083 | 40823.8782 | 40823.8782 | 40823.8782 | 40757.5495 | 40757.5495 | 40757.5495 | 40673.2023 | 40673.2023 | 40673.2023 | 40662.7519 | 40662.7519 | 40662.7519 | 40740.1726 | 40740.1726 | 40740.1726 | 40673.8439 | 40673.8439 | 40673.8439 | 40589.4968 | 40589.4968 | 40589.4968 | 40579.0464 | 40579.0464 | 40579.0464

## water_demand
catchment wfdid | 000 | 001 | 002 | 010 | 011 | 012 | 020 | 021 | 022 | 030 | 031 | 032 | 100 | 101 | 102 | 110 | 111 | 112 | 120 | 121 | 122 | 130 | 131 | 132 | 200 | 201 | 202 | 210 | 211 | 212 | 220 | 221 | 222 | 230 | 231 | 232 | 300 | 301 | 302 | 310 | 311 | 312 | 320 | 321 | 322 | 330 | 331 | 332
Affinity Water iver | 13012.4487 | 13012.4487 | 13012.4487 | 12989.2337 | 12989.2337 | 12989.2337 | 12959.7122 | 12959.7122 | 12959.7122 | 12956.0545 | 12956.0545 | 12956.0545 | 13976.0721 | 13976.0721 | 13976.0721 | 13952.8571 | 13952.8571 | 13952.8571 | 13923.3356 | 13923.3356 | 13923.3356 | 13919.6779 | 13919.6779 | 13919.6779 | 14288.3574 | 14288.3574 | 14288.3574 | 14265.1423 | 14265.1423 | 14265.1423 | 14235.6208 | 14235.6208 | 14235.6208 | 14231.9632 | 14231.9632 | 14231.9632 | 14259.0604 | 14259.0604 | 14259.0604 | 14235.8454 | 14235.8454 | 14235.8454 | 14206.3239 | 14206.3239 | 14206.3239 | 14202.6662 | 14202.6662 | 14202.6662
Affinity Water borehole | 13012.4487 | 13012.4487 | 13012.4487 | 12989.2337 | 12989.2337 | 12989.2337 | 12959.7122 | 12959.7122 | 12959.7122 | 12956.0545 | 12956.0545 | 12956.0545 | 13976.0721 | 13976.0721 | 13976.0721 | 13952.8571 | 13952.8571 | 13952.8571 | 13923.3356 | 13923.3356 | 13923.3356 | 13919.6779 | 13919.6779 | 13919.6779 | 14288.3574 | 14288.3574 | 14288.3574 | 14265.1423 | 14265.1423 | 14265.1423 | 14235.6208 | 14235.6208 | 14235.6208 | 14231.9632 | 14231.9632 | 14231.9632 | 14259.0604 | 14259.0604 | 14259.0604 | 14235.8454 | 14235.8454 | 14235.8454 | 14206.3239 | 14206.3239 | 14206.3239 | 14202.6662 | 14202.6662 | 14202.6662
TW Kepton | 2788.3819 | 2788.3819 | 2788.3819 | 2783.4072 | 2783.4072 | 2783.4072 | 2777.0812 | 2777.0812 | 2777.0812 | 2776.2974 | 2776.2974 | 2776.2974 | 2994.8726 | 2994.8726 | 2994.8726 | 2989.8979 | 2989.8979 | 2989.8979 | 2983.5719 | 2983.5719 | 2983.5719 | 2982.7881 | 2982.7881 | 2982.7881 | 3061.7909 | 3061.7909 | 3061.7909 | 3056.8162 | 3056.8162 | 3056.8162 | 3050.4902 | 3050.4902 | 3050.4902 | 3049.7064 | 3049.7064 | 3049.7064 | 3055.5129 | 3055.5129 | 3055.5129 | 3050.5383 | 3050.5383 | 3050.5383 | 3044.2123 | 3044.2123 | 3044.2123 | 3043.4285 | 3043.4285 | 3043.4285
TW Ashford | 2788.3819 | 2788.3819 | 2788.3819 | 2783.4072 | 2783.4072 | 2783.4072 | 2777.0812 | 2777.0812 | 2777.0812 | 2776.2974 | 2776.2974 | 2776.2974 | 2994.8726 | 2994.8726 | 2994.8726 | 2989.8979 | 2989.8979 | 2989.8979 | 2983.5719 | 2983.5719 | 2983.5719 | 2982.7881 | 2982.7881 | 2982.7881 | 3061.7909 | 3061.7909 | 3061.7909 | 3056.8162 | 3056.8162 | 3056.8162 | 3050.4902 | 3050.4902 | 3050.4902 | 3049.7064 | 3049.7064 | 3049.7064 | 3055.5129 | 3055.5129 | 3055.5129 | 3050.5383 | 3050.5383 | 3050.5383 | 3044.2123 | 3044.2123 | 3044.2123 | 3043.4285 | 3043.4285 | 3043.4285
TW Hampton | 2788.3819 | 2788.3819 | 2788.3819 | 2783.4072 | 2783.4072 | 2783.4072 | 2777.0812 | 2777.0812 | 2777.0812 | 2776.2974 | 2776.2974 | 2776.2974 | 2994.8726 | 2994.8726 | 2994.8726 | 2989.8979 | 2989.8979 | 2989.8979 | 2983.5719 | 2983.5719 | 2983.5719 | 2982.7881 | 2982.7881 | 2982.7881 | 3061.7909 | 3061.7909 | 3061.7909 | 3056.8162 | 3056.8162 | 3056.8162 | 3050.4902 | 3050.4902 | 3050.4902 | 3049.7064 | 3049.7064 | 3049.7064 | 3055.5129 | 3055.5129 | 3055.5129 | 3050.5383 | 3050.5383 | 3050.5383 | 3044.2123 | 3044.2123 | 3044.2123 | 3043.4285 | 3043.4285 | 3043.4285
TW Walton | 2788.3819 | 2788.3819 | 2788.3819 | 2783.4072 | 2783.4072 | 2783.4072 | 2777.0812 | 2777.0812 | 2777.0812 | 2776.2974 | 2776.2974 | 2776.2974 | 2994.8726 | 2994.8726 | 2994.8726 | 2989.8979 | 2989.8979 | 2989.8979 | 2983.5719 | 2983.5719 | 2983.5719 | 2982.7881 | 2982.7881 | 2982.7881 | 3061.7909 | 3061.7909 | 3061.7909 | 3056.8162 | 3056.8162 | 3056.8162 | 3050.4902 | 3050.4902 | 3050.4902 | 3049.7064 | 3049.7064 | 3049.7064 | 3055.5129 | 3055.5129 | 3055.5129 | 3050.5383 | 3050.5383 | 3050.5383 | 3044.2123 | 3044.2123 | 3044.2123 | 3043.4285 | 3043.4285 | 3043.4285
0.35
0.35
0.075
0.075
0.075
0.075